# MICROSCOPE HAIR ANALYSIS

Materials

- Microscope

- Microscope slide

- Cover slip

- Pipette

- Cup of water

Procedures

- Obtain a clean microscope slide, coverslip, pipette, and cup of water.

- Pluck a piece of hair and add it to the center of the slide.

- Add one drop of water to the center of the slide.

- Place the coverslip at a 45-degree angle over the hair and drop it on to the slide.

- Lower the microscope stage all the way down using the coarse adjustment knob.

- Place your objective on scanning power (4x).

- Raise the stage until the hair is clearly in view.

- Draw your hair on scanning power in the space below.

Scanning Power

- Switch your objective to low power (10x).

- Make adjustments as needed using the coarse and fine knobs.

- Draw your hair on low power in the space below.

Low Power

- Finally, switch your objective to high power (40x).

- Make adjustments using the fine knob only. Using the coarse knob can damage the slide and the objective.

- Draw your hair on high power in the space below.

High Power

If you were to describe the hair that you observed, what observations would you make?